# Project Assignment

## Embassy of the Republic of Croatia in Brussels

### Specification of Technical Systems within the Premises at Avenue Louise 375/7, Brussels, Belgium

Sector for Information Technology and Telecommunications, Sector for Information Security, Ministry of Foreign and European Affairs of the Republic of Croatia, November 2025.

# Table of Contents

- Introduction

- Computer and Communication Network System

- Telecommunications System

- Video Surveillance System

- Intrusion Detection / Burglar Alarm System

- Access Control System

- Other Technical Systems

- IT Equipment

- Specifications of Equipment and Materials under the Responsibility of the Information Security Administration

- Equipment and Material Specifications

# 1. Introduction

This document specifies the computer and communication systems and technical protection systems within the premises of the Embassy of the Republic of Croatia in Brussels at Avenue Louise 375/7, Brussels, and this document forms the basis for the project.

The installation, setup, and connection of all cables and equipment shall be carried out by employees of the Ministry of Foreign and European Affairs and authorized professionals.

It is necessary to ensure all installation works and standards for communication cabinets, as well as all required grounding according to local regulations.

Prior to commencement of works, a detailed design must be prepared in order to define all construction and installation requirements, including the routing of communication lines, installation of technical protection systems and all related installation works, as well as a layout of all cable routes.

The embassy premises are equipped with the following technical systems:

- Computer and communication network system

- Telecommunications system

- Intrusion detection system

- Video surveillance system

- Access control system

- IT equipment

The capacities, dimensions, and locations of individual technical systems within the premises are described in this document and in the accompanying technical drawings.

For commissioning of the premises, if performed by employees of the Ministry of Foreign and European Affairs, the following minimum staffing is recommended:

- Two employees for telecommunications (2 persons / 12 days)

- Two employees for support systems (2 persons / 12 days)

- Two employees for physical and technical protection (2 persons / 12 days)

- Two employees for IT support (2 persons / 5 days)

- Consumable materials, estimated value: EUR 2,000

# 2. Computer and Communication Network System

The required computer and communication network system consists of a computer network and communication equipment inside the IT room.

## IT Room

The IT room is located in room dimensions approximately 2.8 x 3.3 m, with a total area of approximately 9 m². Inside this room, grounding and telecommunications lines must be installed (armored and light-current cables) leading to the central telecommunications cabinet where the local public telecommunications lines are located.

## Computer Network

- The network topology shall be star-shaped, with all cables terminating in the communication cabinet (KO) located in the IT room.

- A sufficient number of openings in the walls must be provided for installation of cable conduits.

- Local network installations must be carried out using structured cabling.

- Communication sockets shall be RJ45 Cat. 5e minimum.

- All network cables must be properly labeled.

- Electrical installations must be separated from telecommunications installations.

- Patch panels and active equipment must be installed in the communication cabinet.

- The communication cabinet must include grounding and electrical protection.

Local works required:

- Provide electrical protection and grounding.

- Install conduits for telecommunications cables.

- Prepare wall openings and routing paths for all installations.

- Ensure adequate space for routing and future maintenance.

## Layout of Connection Points

The proposed office layout and connection point arrangement are shown in the attached drawings.

Legend:

- Connection point with 4 outlets

- Connection point with 2 outlets

- Communication cabinet

# 3. Telecommunications System

The required telecommunications system consists of active and passive equipment located in the technical room (IT room) and telephone devices.

The telecommunications cabinet and telephone devices are supplied and installed by the professional services of the Ministry of Foreign and European Affairs. For telephone connection distribution, structured cabling installations and telephone distributors inside the cabinet shall be used.

It is necessary to provide existing public telecommunications lines to the cabinet through conduits and optical cable ducts. When connecting telephone and internet lines, provisions should be made for future expansion. Existing ISDN lines and SIP connections should be considered. Internet speed should be increased to a minimum of 50 Mbps.

# 4. Video Surveillance System

The required video surveillance system includes six camera locations (P1–P6) and one monitor connection point (K1). It is necessary to install cable conduits with light-current cables in all designated locations. Conduits and installation routes must allow easy cable routing and future maintenance.

The camera, monitor, and recording device (RO) cables and installation shall be carried out by employees of the Ministry of Foreign and European Affairs.

The documentation includes diagrams showing the arrangement and positions of conduits and computer cabinets.

Each individual camera location (H, P, K) to the computer cabinet (RO) requires one UTP cable.

A total of 6 camera connections and 1 monitor connection are planned.

## Legend

A1 – Cable conduit exiting above the door frame on the inside wall side
B1 – Cable conduit exiting from the wall or ceiling at least 100 cm away from the window
C1 – Cable conduit exiting in the corner of the room at 220 cm height from the floor (maximum 280 cm)
H1 – Cable conduit exiting on the building façade below ceiling level (minimum 350 cm height)
L1 – Cable conduit exiting near the door at 150 cm height from the floor
K1 – Cable conduit exiting from the wall at 50 cm height from the floor
P1 – Cable conduit exiting at ceiling level (minimum 250 cm from floor)
S1 – Cable conduit exiting from the wall at minimum 250 cm height from the floor
RK1 – Junction box dimensions minimum 25 x 25 cm
Cable conduit Ø30 mm or two cable conduits Ø25 mm between junction boxes.

# 5. Intrusion Detection / Burglar Alarm System

The required intrusion detection system consists of six motion detector locations and associated conduits and connection points. A detailed conduit layout and detector placement are shown in the attached diagrams.

The installation and connection of alarm system cables and active equipment shall be carried out by employees of the Ministry of Foreign and European Affairs and authorized professionals.

All conduits must allow easy cable installation and future maintenance.

The documentation includes diagrams showing the arrangement and positions of conduits and system components.

Approximately 21 connections for burglar alarm system elements are planned.

# 6. Access Control System

The access control system requires installation of cable conduits and associated connection points for access readers and electric locking systems.

For each access point, conduits must be installed according to the provided diagrams.

The installation and connection of access control cables and active equipment shall be carried out by employees of the Ministry of Foreign and European Affairs.

The documentation includes diagrams showing the arrangement and positions of conduits and system components.

A total of 6 access control system connections are planned.

Wherever possible, existing door locks should be replaced with security doors. Glass and double-wing doors generally do not meet minimum security standards.

# 7. Other Technical Systems

## Fire Protection System

Fire protection systems are not under the direct responsibility of the Information Security Administration; however, installation of an automatic fire detection system is recommended in accordance with the minimum requirements of the receiving country.

# 8. IT Equipment

Computer equipment at the location shall be delivered and installed during the arrival of employees into the premises.

# 9. Specifications of Equipment and Materials under the Responsibility of the Information Security Administration

Technical specifications, dimensions, and installation requirements for:

- Communication cabinets

- Patch panels

- RJ45 communication outlets

- UTP cables

- Electrical grounding equipment

- Video surveillance equipment

- Alarm system equipment

- Access control equipment

- Cable conduits and protective pipes

# 10. Equipment and Material Specifications

Examples and quantities of materials including:

- Cable duct 20 x 20 mm

- Plastic PNT conduit Ø25 mm

- Clamp fastening strip

- Pipe elbow fitting

- Flexible corrugated conduit Ø25 mm

- Surface-mounted junction box minimum 25x20x10 cm

- Fischer SX6 wall plugs and screws

- Fischer SX8 wall plugs and screws

- Fischer SX10 wall plugs and screws

- Flexible electrical cable 3 x 2.5 mm²

- Grounding conductor 10 mm² yellow-green flexible

- Surface-mounted electrical outlet, Schuko type